## TENDER_ITEM_UPLOAD
To enable entering data into the sheet, please click on 'Enable Editing'.
Please insert items from 12th row.
Every row will be considered as a distinct item.
The row, in which the two fields- 'Item Code' and 'Description' are blank, will not be considered.
If 'CREDIT ITEM' is not entered, default value '0' will be taken.
If 'Calc Field' is not entered, default value 'N' will be taken.
MAX ITEM LIMIT IN EACH EXCEL FILE IS 1000
SERIAL No. | Department | SOR | Year | Item Code | Description | UOM | Rate | Quantity | Amount | Ref Serial No | CREDIT ITEM (0/1) | Calc Field(Y/N) | Offset/Reserve Price | EMD Amount
1 | MMSSKM | NS | 2026 | 7885 | AIR CIRCUIT BREAKER MODULE 32 T8 IN 2000A UC-5000V, ICU-66KA, ICS-66KA, ICW-60KA, ELECTRONIC RELAY - ETU2W FIXED TYPE. IDENITY NO-664128924051, CAT NO- 3WT8161-1AA00-0AA2. MAKE - SIEMENS. DISTRIBUTER CERTIFICATE FROM PURCHASE FIRM AND PURCHASE INVOICE OR MATERICAL PURCHAE CERTIFICATE, WITH INSTALLATION & TRAIL COMPLETE WORKS | NO |  | 1 | 0
2 | MMSSKM | NS | 2026 | 7886 | AIR CIRCUIT BREAKER MODULE 32T8 IN 1600A 50/60HZ UC-5000V, ICU-66KA, ICS-66KA, ICW-60KA, IDENITY NO-6641281227025 FIXED TYPE, (PCC 3/4) CAT NO- 3WT82202-2AA00-0AA2. MAKE - SIEMENS. DISTRIBUTER CERTIFICATE FROM PURCHASE FIRM AND PURCHASE INVOICE OR MATERICAL PURCHAE CERTIFICATE, WITH INSTALLATION & TRAIL COMPLETE WORKS | NO |  | 1 | 0
3 | MMSSKM | NS | 2026 | 9548 | AIR FILTER REGULATOR WITH LUBRICATOR MODLE-F R C 146234 MAX.PR.10 BAR MAKE - JANATICS/NORWAY | NO |  | 3 | 0
4 | MMSSKM | NS | 2026 | 9157 | AMMETER SELECTOR SWITCH 6A-16A , MAKE- L&T MAKE - L&T/SCHNEIDER | NO |  | 3 | 0
5 | MMSSKM | NS | 2026 | 9101 | AMP. METER ANALOG SIZE- 96 X 96 MM, RANGE- 0-900 AMP., INPUT- 4-20mA, MAKE - A.E./ RISHABH | NO |  | 2 | 0
6 | MMSSKM | NS | 2026 | 9496 | ANALOG AMP. METER PANEL MOUNTING CTR/DIRECT CONNECTED SIZE- 96 X 96 MM, AMP. METER 0-50/5A CTR MAKE - L&T/SCHNEIDER | NO |  | 1 | 0
7 | MMSSKM | NS | 2026 | 9147 | ANALOG AMP. METER PANEL MOUNTING CTR/DIRECT CONNECTED SIZE- 96 X 96 MM, AMP. METER 0-60/5A CTR MAKE - L&T/SCHNEIDER | NO |  | 1 | 0
8 | MMSSKM | NS | 2026 | 9399 | ANOLOG CONTROLER MADULE ,MAKE - POWERCON | NO |  | 1 | 0
9 | MMSSKM | NS | 2026 | 9596 | BATTERY FOR ONLINE UPS USE IN INDURSTRIES 42AH 12VDC MAKE - LUMINOUS/EXIDE/AMARON/ AMARARAJA | NO |  | 50 | 0
10 | MMSSKM | NS | 2026 | 250038 | BATTERY TERMINAL STANDARD | NO |  | 1 | 0
11 | MMSSKM | NS | 2026 | 9225 | BRAASS SIM- PLATE SIZE - 01.00MM MAKE - STANDARD QUALITY | KG |  | 1 | 0
12 | MMSSKM | NS | 2026 | 6096 | Brass Nozzle size-3/8 BRASS NOZEL SIZE - 10 MM, AS PER SAMPLE | NO |  | 20 | 0
13 | MMSSKM | NS | 2026 | 8053 | BRASS SIM PLATE SIZE 0.05MM STANDARD | KG |  | 1 | 0
14 | MMSSKM | NS | 2026 | 8054 | BRASS SIM PLATE SIZE 0.1MM STANDARD | KG |  | 1 | 0
15 | MMSSKM | NS | 2026 | 5956 | BRASSO - 100 ML RECKET BENCKISER INDIA LTD | NO |  | 24 | 0
16 | MMSSKM | NS | 2026 | 9368 | C.D.S. TUBE SIZE - 30 MM, ONE LENGTH TESTED RUNNING PRESSURE 400 KG/CM2 | MTR |  | 12 | 0
17 | MMSSKM | NS | 2026 | 9182 | Cable Lugs & Glands Each size | pack |  | 1 | 0
18 | MMSSKM | NS | 2026 | 5207 | Carbide grinding wheel v-545 size- 200x25x31.75 mm MAKE-NORTON | NO |  | 1 | 0
19 | MMSSKM | NS | 2026 | 9085 | CARBIDE TIP TOOL ( LEFT HAND) - 1/2 INCH MAKE - SANVICK/MIRANDA | NO |  | 10 | 0
20 | MMSSKM | NS | 2026 | 9090 | CARBIDE TIP TOOL BORING BAR - 1/2 INCH X 10 INCH MAKE - SANVICK/MIRANDA | NO |  | 6 | 0
21 | MMSSKM | NS | 2026 | 6497 | CARBIDE TIP TOOL BORING BAR -3/4 INCHX12 INCH MM MAKE - SANVICK/MIRANDA | NO |  | 9 | 0
22 | MMSSKM | NS | 2026 | 8481 | CARBIDE TIP TOOL LEFT HAND 3/4 INCHMAKE-SANVICK/MIRANDA | NO |  | 10 | 0
23 | MMSSKM | NS | 2026 | 6493 | CARBIDE TIP TOOL U SHAPE - 1/2 MAKE-SANVICK/MIRANDA | NO |  | 10 | 0
24 | MMSSKM | NS | 2026 | 9086 | CARBIDE TIP TOOL U SHAPE - 8 MM MAKE - SANVICK/MIRANDA | NO |  | 10 | 0
25 | MMSSKM | NS | 2026 | 1922 | CARBIDE TIP TOOL V SHAPE TOOL RIGHT HAND 1/2 INCH MAKE-SANVICK/MIRANDA | NO |  | 10 | 0
26 | MMSSKM | NS | 2026 | 1923 | CARBIDE TIP TOOL V SHAPE TOOL RIGHT HAND 3/4 INCH MAKE-SANVICK/MIRANDA | NO |  | 10 | 0
27 | MMSSKM | NS | 2026 | 6495 | CARBIDE TIP TOOL WITH HOLDER ANGLE -45 , SIZE -300 MM MM MAKE - SANVICK/MIRANDA | NO |  | 8 | 0
28 | MMSSKM | NS | 2026 | 6496 | CARBIDE TIP TOOL WITH HOLDER ANGLE -55 , SIZE -300 MM MM MAKE - SANVICK/MIRANDA | NO |  | 5 | 0
29 | MMSSKM | NS | 2026 | 9088 | CARBIDE TIP TOOL WITH HOLDER, ANGLE - 35°, SIZE- 300 MM MAKE - SANVICK/MIRANDA | NO |  | 2 | 0
30 | MMSSKM | NS | 2026 | 9485 | CARBON BRUSH GRADE- EG224, SIZE- 32 X 20 X 50 MAKE - K.E. | NO |  | 20 | 0
31 | MMSSKM | NS | 2026 | 250308 | Carbon Brush MC 70 SIZE 16X32X40 MM MAKE-K.E. | NO |  | 13 | 0
32 | MMSSKM | NS | 2026 | 9195 | CHAIN FOR VALVE DRIVE PITCH - 15 MM ,MAKE - USHA MARTIN/SAMSON/INDEF-M | MTR |  | 30 | 0
33 | MMSSKM | NS | 2026 | 5864 | CIRCLIP (OUTSIDE) ID -12MM THIK -1MM | NO |  | 8 | 0
34 | MMSSKM | NS | 2026 | 9192 | CIRCLIP MODEL- 80-300 FOR R.O. MAKE - STANDARD QUALITY | NO |  | 12 | 0
35 | MMSSKM | NS | 2026 | 7721 | COMENSATING CABLE FOR THERMOCOUPLE K-TYPE 0.5 MM 2CORE COMPENSATING CABLE ( K- TYPE THERMOCOUPLES) MAKE - OMEGA | MTR |  | 30 | 0
36 | MMSSKM | NS | 2026 | 9316 | CONNECTOR - 1/2 INCH | NO |  | 17 | 0
37 | MMSSKM | NS | 2026 | 7907 | CONNECTOR 3/4 | NO |  | 15 | 0
38 | MMSSKM | NS | 2026 | 9839 | CORTAGE FILTER 5 - MICRON SIZE - LENGHT- 18 INCH FOR RO PLANT | NO |  | 12 | 0
39 | MMSSKM | NS | 2026 | 10500 | FLUKE 376 DIGITAL CLAMP METER 1000 AMP DC MAX CURRENT 1000 AMP AC CAT III 1000V MAKE - FLUKE | NO |  | 2 | 0
40 | MMSSKM | NS | 2026 | 300170 | Crimping tool MAKE - TAPARIA | NO |  | 1 | 0
41 | MMSSKM | NS | 2026 | 8573 | CUTTING PLIER 6 INCH MAKE TAPARIA MAKE - TAPARIA | NO |  | 4 | 0
42 | MMSSKM | NS | 2026 | 9045 | CUTTING WHEEL SIZE-355X2.8X25.4 MM ,A 30 R BF MAKE - BOSCH/HITACHI/NORTON | NO |  | 10 | 0
43 | MMSSKM | NS | 2026 | 9044 | CUTTING WHEEL FOR AG-5, SIZE-125 MM (5 INCH) MAKE - BOSCH/HITACHI/NORTON | NO |  | 50 | 0
44 | MMSSKM | NS | 2026 | 9333 | D.O.L. STARTER MK1 RELAY RANGE - 9-13 MAKE - L&T T/S SCHNIDER | NO |  | 14 | 0
45 | MMSSKM | NS | 2026 | 8508 | DAIMOND NIDDLE FILE MAKE - TAPARIA | NO |  | 1 | 0
46 | MMSSKM | NS | 2026 | 9498 | DC TECHO GENERATOR MODEL NO.- TDP-4000RPM MARK 2 OUTPUT:- 50 VOLT DC 1000 RPM 100MILLIAMP MAKE - L&T/SCHNEIDER | NO |  | 2 | 0
47 | MMSSKM | NS | 2026 | 5854 | DEE SPANNER SET 6-7TO 30-32 MAKE - TAPARIA | NO |  | 4 | 0
48 | MMSSKM | NS | 2026 | 9119 | DIAL INDICATOR GAUGE, - LDR 923,RANGE - 0-90,NO - 2046 S,WITH MAGNATIC STAND,MAKE- MITUTOYO | SET |  | 2 | 0
49 | MMSSKM | NS | 2026 | 6815 | Digital Indicator (Model 408M, Input 4-20MA MV, 0-10VDC) MAKE - MASIBUS/NORWAY | NO |  | 1 | 0
50 | MMSSKM | NS | 2026 | 6814 | Digital Level Indicator (Range 0-100, Input 4-20MA, Power Supply AC 230V, Digit Size-4) MAKE - MASIBUS/NORWAY | NO |  | 1 | 0
51 | MMSSKM | NS | 2026 | 9400 | DIGITAL UOPPUT MADULE ,MAKE - POWERCON | NO |  | 1 | 0
52 | MMSSKM | NS | 2026 | 9533 | DISC ROTARY VALVE , (FOR PAN) , CONNECTOR SIZE- 1/4 INCH, 4 WAY. MAKE - AIRMAX/KARMA/NORWAY | NO |  | 6 | 0
53 | MMSSKM | NS | 2026 | 7675 | DP TRANSMITTER, 1151 CALL 0-3810 MAKE ROSEMOUNT | NO |  | 1 | 0
54 | MMSSKM | NS | 2026 | 7673 | DP TRANSMITTER, 2000PSI, CALL 0-450 MM MAKE ROSEMOUNT | NO |  | 1 | 0
55 | MMSSKM | NS | 2026 | 7674 | DP TRANSMITTER, 4000PSI, CALL 0-106 MAKE ROSEMOUNT | NO |  | 1 | 0
56 | MMSSKM | NS | 2026 | 1930 | DRILL SOCKET SET- 1/2/3 NO.MAKE - MIRINDA | SET |  | 1 | 0
57 | MMSSKM | NS | 2026 | 9489 | E30 OIL TIGHT PUSH BUTTON AC+UA+OV (RED) CAT NO.- TMH-R MAKE - BCH | NO |  | 10 | 0
58 | MMSSKM | NS | 2026 | 6838 | E30 Oil Tight Push Button Actuator (RED) AC+UA+OV CAT NO. - TMH-R MAKE -BCH | NO |  | 12 | 0
59 | MMSSKM | NS | 2026 | 9377 | ELECTRIC EARTHING WITH MATERIAL,IE PIT,GI FLAT ,GI PIPE,COPPER WIRE,SALT ,COCK ETC. | NO |  | 5 | 0
60 | MMSSKM | NS | 2026 | 9597 | ELECTRIC INSULATING RUBBER HAND GLOVES,SHOCK PROOF, FOR 11 KV, | Pair |  | 20 | 0
61 | MMSSKM | NS | 2026 | 6877 | ELECTRONIC TIMER RANGE03SEC-30MIN ELECTRONIC TIMER (EAPL) ON DELAY, A1D1-X, RANGE 03 SEC-30MIN. 24V-240V AC CONTROL SUPPLY, CONECTS-5A, O/P- 2 C/O RELAY MAKE - ELECTORNIC AUTOMATION PVT. LT. BANGALORE/GENERAL | NO |  | 5 | 0
62 | MMSSKM | NS | 2026 | 250475 | Element for Return oil filter 926169- 10C, MAKE -HYDROLINE/ PARKER | NO |  | 1 | 0
63 | MMSSKM | NS | 2026 | 6486 | EN-39/45 FLAT IRON 65X10 MAKE-STANDARD QUALITY | KG |  | 50 | 0
64 | MMSSKM | NS | 2026 | 7393 | EN-45 FLAT IRON 100X10 MM MAKE-STANDARD QUALITY | KG |  | 50 | 0
65 | MMSSKM | NS | 2026 | 9281 | END CAP TYPE - SIDE PORT, MODEL- 80-300 FOR R.O. MAKE - ECOLINE (PETAIR) | NO |  | 6 | 0
66 | MMSSKM | NS | 2026 | 9841 | EVAPORATOR BODY SIGHT GLASS WITH RUBBER CHANNEL, SIZE- OD 80 MM X THICK 15 MM. AS PER SAMPLE MAKE - MELON/ RJ/ GAURAV/SWASTIK | NO |  | 9 | 0
67 | MMSSKM | NS | 2026 | 9407 | FIBRIZER OIL PUMP MAKE - ESKAY HEAT TRANSFER / DOWTY TYPE / ROTOFLUID | NO |  | 1 | 0
68 | MMSSKM | NS | 2026 | 9369 | FILLER GAUGE SIZE - 4 INCHLONG X THICK 15MM. | NO |  | 2 | 0
69 | MMSSKM | NS | 2026 | 6680 | FOOT SWITCH ELEMENT 1 NO + 1 NC CAT NO - SP50S1 MAKE - BCH | NO |  | 1 | 0
70 | MMSSKM | NS | 2026 | 8635 | FULL ROUND FILE ROUGH 12 MM MAKE - TAPARIA | NO |  | 1 | 0
71 | MMSSKM | NS | 2026 | 9115 | GLASS FIBRE TAPE 3/4 INCH MAKE - STANDARD | NO |  | 20 | 0
72 | MMSSKM | NS | 2026 | 10407 | GLASS FUSE 2 AMP.MAKE - L&T/SCHNEIDER | pack |  | 2 | 0
73 | MMSSKM | NS | 2026 | 9043 | GRINDING MACHINE AG-4, SIZE-100 MM (4 INCH) MAKE - BOSCH/HITACHI/NORTON | NO |  | 2 | 0
74 | MMSSKM | NS | 2026 | 9046 | GRINDING WHEEL FOR AG-5, SIZE-125 MM (5 INCH) MAKE - BOSCH/HITACHI/NORTON | NO |  | 97 | 0
75 | MMSSKM | NS | 2026 | 2302 | HAND LEVER BREAK FOR CENTRIFUGAL MACHINE HAND BRACK LEVER FOR CENTRIFUGAL MACHIN MAKE - ROTEX/UTTAM/NEXUS | NO |  | 1 | 0
76 | MMSSKM | NS | 2026 | 2118 | HAND PUMP FOR DIESEL FILLING (LIFTING PUMP) DIESEL LIFTING PUMP HAND OPERATED. STANDARD. MAKE - STANDARD | NO |  | 2 | 0
77 | MMSSKM | NS | 2026 | 250333 | HEAVY DUTY SWITCH DISCONNECTOR FUSE , SFU 630A CAT NO. - 3KL8421-3UA00MAKE SIEMENS | NO |  | 4 | 0
78 | MMSSKM | NS | 2026 | 250079 | HEAVY DUTY SWITCH DISCONNECTOR FUSE , SFU 63A, CAT NO. -63A3KL8151-3HA00 MAKE SIEMENS | NO |  | 2 | 0
79 | MMSSKM | NS | 2026 | 9148 | HEAVY DUTY SWITCH DISCONNECTOR FUSE UNIT SFU-200A IN S.S. ENCLOUSER 3KL8, RATED CURRENT (200-410A) REFERENCE NO- 3KX8345-4AC. MAKE - SIEMENS | NO |  | 2 | 0
80 | MMSSKM | NS | 2026 | 4171 | Hexa Frame 12 INCH MAKE - TAPARIA | NO |  | 6 | 0
81 | MMSSKM | NS | 2026 | 9279 | HIGH REACTION R.O. MEMBRANE MEMBRANE- 80-40 (HOUSING MODEL- 80-300-5) MAKE - ECOLINE | NO |  | 20 | 0
82 | MMSSKM | NS | 2026 | 7685 | HOSETMART PENUMATIC CONNECTOR 8MMX1/8 INCH BSP | NO |  | 2 | 0
83 | MMSSKM | NS | 2026 | 9817 | HOSS CONNECTOR SIZE - ID-90 , OD - 115 , L - 470 MM AS PER SAMPLE | NO |  | 10 | 0
84 | MMSSKM | NS | 2026 | 9490 | HRC FUSE NS TYPE BLEAD TAG, HRC FUSE 2A, 3NWNS2 MAKE - SIEMENS | NO |  | 2 | 0
85 | MMSSKM | NS | 2026 | 300127 | HSS TAPER SHANK DRILL 9MM MAKE - IT/TOTAM | NO |  | 10 | 0
86 | MMSSKM | NS | 2026 | 4970 | HYDROLIC OIL FILTER CRAIN CODE- TIE-06-025 | NO |  | 3 | 0
87 | MMSSKM | NS | 2026 | 9543 | HYDROLICK PUMP FOR CANE UNLOADER GRAB, AS PER SAMPLE | NO |  | 2 | 0
88 | MMSSKM | NS | 2026 | 9135 | IN LINE CRIPMPING CONNECTOR ALLUMINIUM 185 MM2 MAKE - DOWELLS/JACKSON | NO |  | 20 | 0
89 | MMSSKM | NS | 2026 | 9125 | IN LINE CRIPMPING CONNECTOR COPPER 120 MM2 MAKE - DOWELLS/JACKSON | NO |  | 20 | 0
90 | MMSSKM | NS | 2026 | 9121 | IN LINE CRIPMPING CONNECTOR COPPER 50 MM2 MAKE - DOWELLS/JACKSON | NO |  | 20 | 0
91 | MMSSKM | NS | 2026 | 9123 | IN LINE CRIPMPING CONNECTOR COPPER 70 MM2 MAKE - DOWELLS/JACKSON | NO |  | 9 | 0
92 | MMSSKM | NS | 2026 | 250265 | inline/Alluminium Lugs 120 sqr mm MAKE - DOWELLS/JACKSON | NO |  | 56 | 0
93 | MMSSKM | NS | 2026 | 9191 | INSIDE CIRCLIP 32X1.4MM MAKE - STANDARD QUALITY | NO |  | 12 | 0
94 | MMSSKM | NS | 2026 | 9216 | INSULATED PLAIR 6” MAKE - TAPARIA/STENLEY | NO |  | 2 | 0
95 | MMSSKM | NS | 2026 | 9215 | INSULATED PLAIR 8 INCH MAKE - TAPARIA | NO |  | 2 | 0
96 | MMSSKM | NS | 2026 | 9140 | INSULATING THINNER Dr. BACK MAKE - DR. BACK | litre |  | 5 | 0
97 | MMSSKM | NS | 2026 | 6580 | ISOLATOR INPUT 4-20MA OUTPUT 4-20MA (DUAL CHANNEL) SINGLE ISOLATOR INPUT 4ma to 20ma ,OUTPUT 4ma to 20ma DUAL CHANNEL MAKE - MASIBUS /TECHNO/NEXUS | NO |  | 3 | 0
98 | MMSSKM | NS | 2026 | 5988 | L.T. CONTROL SWITCH 3 PHASE FORWORD/REVERSE 16A ROTARY MAKE - L&T/SCHNEIDER | NO |  | 2 | 0
99 | MMSSKM | NS | 2026 | 9529 | LATHRIZE PAPER/ OIL PAPER MAKE - STANDARD | KG |  | 5 | 0
100 | MMSSKM | NS | 2026 | 10412 | LUG FOR FLEXIBLE WIRE FERRULES TERMINAL KIT SIZE 1 MM MAKE- STANDARD COMPANY | pack |  | 2 | 0
101 | MMSSKM | NS | 2026 | 10413 | LUG FOR FLEXIBLE WIRE FERRULES TERMINAL KIT SIZE 1.5 MM MAKE- STANDARD COMPANY | pack |  | 2 | 0
102 | MMSSKM | NS | 2026 | 5141 | M.S. Bolt with Nut - 3/4 INCH x 2.5 INCH (H.T) MAKE - STANDARD QUALITY | KG |  | 100 | 0
103 | MMSSKM | NS | 2026 | 3538 | M.S. BOLT WITH NUT (F.T.) 6X50 MM MAKE - STANDARD QUALITY | KG |  | 25 | 0
104 | MMSSKM | NS | 2026 | 2285 | M.S. BOLT WITH NUT 16X130 MM MAKE - STANDARD QUALITY | KG |  | 25 | 0
105 | MMSSKM | NS | 2026 | 6482 | M.S. BOLT WITH NUT 16X65 MM (H.T.) MAKE - STANDARD QUALITY | KG |  | 75 | 0
106 | MMSSKM | NS | 2026 | 9276 | M.S. STUD BOLT (TWO SIDE THREAD) - 8 X 100 MM MAKE- STANDARD QUALITY | NO |  | 24 | 0
107 | MMSSKM | NS | 2026 | 9278 | M.S. STUD BOLT (TWO SIDE THREAD) - 10 X 100 MM MAKE- STANDARD QUALITY | NO |  | 24 | 0
108 | MMSSKM | NS | 2026 | 9305 | M.S. STUD BOLT (TWO SIDE THREAD) - 10 X 75 MM MAKE - STANDARD QUALITY | NO |  | 24 | 0
109 | MMSSKM | NS | 2026 | 9304 | M.S. STUD BOLT (TWO SIDE THREAD) - 18 X 100 MM MAKE - STANDARD QUALITY | NO |  | 24 | 0
110 | MMSSKM | NS | 2026 | 6741 | M.S. STUD BOLT (TWO SIDE THREAD) 18X75 MM MAKE - STANDARD QUALITY | NO |  | 24 | 0
111 | MMSSKM | NS | 2026 | 6483 | M.S.Bolt With Nut 12X65MM (F.T.) MAKE - STANDARD QUALITY | KG |  | 40 | 0
112 | MMSSKM | NS | 2026 | 6484 | M.S.BOLT WITH NUT F.T. 8X65MM MAKE - STANDARD QUALITY | KG |  | 15 | 0
113 | MMSSKM | NS | 2026 | 7086 | MILL HYDROLIC LINE ELBOW/FERULE 12MM | NO |  | 10 | 0
114 | MMSSKM | NS | 2026 | 1910 | MILL HYDROLIC LINE ELBOW/FERULE 30 MM | NO |  | 1 | 0
115 | MMSSKM | NS | 2026 | 7085 | MILL HYDROLIC LINE ELBOW/FERULE, 16MM | NO |  | 8 | 0
116 | MMSSKM | NS | 2026 | 3488 | MK1 CONTECTOR COIL 440 VAC MAKE - L&T/SCHNEIDER | NO |  | 14 | 0
117 | MMSSKM | NS | 2026 | 360090 | MONARCH BRASS SPRAY NOZZLE WITH M.S. SOCKET AS PER SAMPLE | NO |  | 120 | 0
118 | MMSSKM | NS | 2026 | 9476 | MOTOR COOLING FAN PLASTIC - FRAME- 100 MAKE - STANDARD | NO |  | 4 | 0
119 | MMSSKM | NS | 2026 | 9478 | MOTOR COOLING FAN PLASTIC - FRAME- 80 MAKE - STANDARD | NO |  | 4 | 0
120 | MMSSKM | NS | 2026 | 9477 | MOTOR COOLING FAN PLASTIC - FRAME- 90 MAKE - STANDARD | NO |  | 4 | 0
121 | MMSSKM | NS | 2026 | 8207 | MOTOR TERMINAL PLATE 110 KW, FRAME- 315 MAKE - SIEMENS | NO |  | 7 | 0
122 | MMSSKM | NS | 2026 | 9480 | MOTOR TERMINAL PLATE 132 KW, FRAME- CW315M MAKE - MARATHAN | NO |  | 2 | 0
123 | MMSSKM | NS | 2026 | 9482 | MOTOR TERMINAL PLATE 160 KW, FRAME- 355L MAKE - SIEMENS | NO |  | 2 | 0
124 | MMSSKM | NS | 2026 | 9481 | MOTOR TERMINAL PLATE 200 KW, FRAME- D 315LC MAKE - MARATHAN | NO |  | 2 | 0
125 | MMSSKM | NS | 2026 | 8210 | MOTOR TERMINAL PLATE 55 KW, FRAME- DV250M MAKE - MARATHAN | NO |  | 5 | 0
126 | MMSSKM | NS | 2026 | 9479 | MOTOR TERMINAL PLATE BACKLIGHT FRAME-90 MAKE - MARATHAN | NO |  | 4 | 0
127 | MMSSKM | NS | 2026 | 9500 | NO VOLT COIL 110VDC, CAT NO- SS91333 FOR AUX CONTACTOR MM00 MAKE - L&T/SCHNEIDER | NO |  | 2 | 0
128 | MMSSKM | NS | 2026 | 9499 | NO VOLT COIL 220VDC, CAT NO- SS94651 FOR AUX CONTACTOR MNO DC MAKE - L&T/SCHNEIDER | NO |  | 1 | 0
129 | MMSSKM | NS | 2026 | 7120 | NYLON BRUSH 10MMXLEN158MM S STAN STANDARD | NO |  | 10 | 0
130 | MMSSKM | NS | 2026 | 7121 | NYLON BRUSH 12MMXLEN158MM STANDARD | NO |  | 7 | 0
131 | MMSSKM | NS | 2026 | 7122 | NYLON BRUSH 14MMXLEN158MM STANDARD | NO |  | 9 | 0
132 | MMSSKM | NS | 2026 | 7123 | NYLON BRUSH 16MMXLEN158MM STANDARD | NO |  | 12 | 0
133 | MMSSKM | NS | 2026 | 7119 | NYLON BRUSH 8MMXLEN158MM STANDARD | NO |  | 14 | 0
134 | MMSSKM | NS | 2026 | 9657 | OIL SEAL - 150 X 350 X 50 MAKE - MICODA/RAJHANS | NO |  | 2 | 0
135 | MMSSKM | NS | 2026 | 9716 | OIL SEAL - 47 X 72 X 10 MAKE - MICODA/RAJHANS | NO |  | 10 | 0
136 | MMSSKM | NS | 2026 | 8804 | OIL SEAL - 69 X 78 X 7 MAKE - MICODA/RAJHANS | NO |  | 11 | 0
137 | MMSSKM | NS | 2026 | 10396 | OIL SEAL 100X130X19 MAKE - MICODA/RAJHANS | NO |  | 6 | 0
138 | MMSSKM | NS | 2026 | 9038 | OIL SEAL 26X50X10 9 MAKE - MICODA/RAJHANS | NO |  | 12 | 0
139 | MMSSKM | NS | 2026 | 9155 | OMRON RELAY 8 CHANNEL 24V DC MAKE - OMRON | NO |  | 2 | 0
140 | MMSSKM | NS | 2026 | 5865 | ONE TON CAPACITY CHAIN BLOCK (NEW )LENGTH OF CHAIN-30 MTR,LIFTING CHAIN - 18 MTR, GRADE - 80 MAKE - INDEF-M | NO |  | 2 | 0
141 | MMSSKM | NS | 2026 | 7660 | O-RING FOR PNEUMATIC (DUBLE ACTING VALVE) MODEL 115DA O-RING FOR BUTTERFLY PNUMATIC VALVE (AS PER AS SAMPLE ) MAKE-STTAFORD, MODEL 115DA. MAKE - AIRA/ROTEX | NO |  | 2 | 0
142 | MMSSKM | NS | 2026 | 10186 | O-RING FOR PNEUMATIC (DUBLE ACTING VALVE) MODEL 125DA O-RING FOR BUTTERFLY PNUMATIC VALVE (AS PER AS SAMPLE) MAKE STAFFORD , MODEL125 DA. MAKE - AIRA/ROTEX | NO |  | 2 | 0
143 | MMSSKM | NS | 2026 | 250197 | Over Load Relay 3UA5800-2EZI 25-40A, MAKE-SIEMENS | NO |  | 1 | 0
144 | MMSSKM | NS | 2026 | 2343 | PIN FOR LONG & INTER RAKE CARRIER AS PER DRAWING NO. 07/10 ENTER RAKE PIN AS PER DRAWING / SAMPLE | NO |  | 120 | 0
145 | MMSSKM | NS | 2026 | 9312 | PIN FOR NYLON ROLLERSIZE - 4.5 X 25 MM AS PER SAMPLE | NO |  | 25 | 0
146 | MMSSKM | NS | 2026 | 9207 | PIPE WRIENCH - 12 INCH MAKE - TAPARIA | NO |  | 2 | 0
147 | MMSSKM | NS | 2026 | 9208 | PIPE WRIENCH - 18 INCH MAKE - TAPARIA | NO |  | 2 | 0
148 | MMSSKM | NS | 2026 | 6808 | PLA Relay 230V AC MAKE - PARAMOUNT | NO |  | 2 | 0
149 | MMSSKM | NS | 2026 | 9156 | PLA RELAY PARAMOUNT 230V AC MAKE - PARAMOUNT | NO |  | 10 | 0
150 | MMSSKM | NS | 2026 | 9138 | PORCILIN FUSE KIT-KAT 300 A MAKE - ENGLISH ELECTRIC | NO |  | 1 | 0
151 | MMSSKM | NS | 2026 | 9137 | PORCILIN FUSE KIT-KAT 500 A MAKE - ENGLISH ELECTRIC | NO |  | 1 | 0
152 | MMSSKM | NS | 2026 | 9546 | PRESSURE GAUGE 0-120 KG, DIAL SIZE-12INCH MAKE - BOWMAR/GENERAL | NO |  | 2 | 0
153 | MMSSKM | NS | 2026 | 9160 | PRESSURE GAUGE 16 KG DAIL SIZE 6” WITH ADJUSTEBAL SS BODY MAKE - H-GURU/HI-TEC | NO |  | 2 | 0
154 | MMSSKM | NS | 2026 | 9161 | PRESSURE GAUGE 160 KG DAIL SIZE 6”WITH ADJUSTEBAL SS BODY MAKE-H-GURU/HI-TEC | NO |  | 2 | 0
155 | MMSSKM | NS | 2026 | 9563 | PRESSURE GAUGE SS BODY RANGE 0 TO 2 KG/CM2 MAKE - BOWMAR/GENERAL/NORWAY | NO |  | 2 | 0
156 | MMSSKM | NS | 2026 | 9022 | Pressure Gauge, Type-Bourdon, Size-0 to 2.5 K/cm2,Dial size 6 INCH,1/2 INCH Bottom connection with Syphon | NO |  | 2 | 0
157 | MMSSKM | NS | 2026 | 9162 | PRESSURE SWITCH RANGE- 0-10 BAR MAKE - DANFOSS/NORWAY | NO |  | 2 | 0
158 | MMSSKM | NS | 2026 | 5688 | PRINTER MACHINE RICOH IM2702 MFD. SERIAL NO.- 3299M420636 MAKE - RICOH | NO |  | 2 | 0
159 | MMSSKM | NS | 2026 | 6345 | PRINTER MACHINEHP LASERJET PRINTER M126NW MPF MAKE - HP | NO |  | 2 | 0
160 | MMSSKM | NS | 2026 | 9128 | PROXIMITY SENSORE DIA-18MM,SN: 12MM, SUPPLY 30VDC LOAD 400MA MAKE - OMRON/TECNO/NEXUS | NO |  | 6 | 0
161 | MMSSKM | NS | 2026 | 9129 | PROXIMITY SENSORE DIA-18MM,SN: 8MM, SUPPLY 30VDC LOAD 400MA MAKE - OMRON/TECNO/NEXUS | NO |  | 10 | 0
162 | MMSSKM | NS | 2026 | 9552 | PUC (08MM) PIPE. STANDARD QUALITY (ISI-MARK) , MAKE- JANATICS. MAKE - JANATICS/ROTEX/TECHNO | MTR |  | 100 | 0
163 | MMSSKM | NS | 2026 | 2367 | PULSE AMPLIFIER MAKE - POWERCON | NO |  | 1 | 0
164 | MMSSKM | NS | 2026 | 9116 | PUNCHER RUBBER (COLD RUBBER) MAKE - STANDARD | KG |  | 3 | 0
165 | MMSSKM | NS | 2026 | 9486 | PUSH BUTTON STATION PLASTIC ENCLOSURE, ON/OFF, CAT NO.-35BS58 02-7AC3 MAKE - SIEMENS | NO |  | 5 | 0
166 | MMSSKM | NS | 2026 | 9541 | PVC BODY FOOTWALL/NRV - 80 MM MAKE - HEAVY DUTY | NO |  | 9 | 0
167 | MMSSKM | NS | 2026 | 9177 | PVC MARKING SLEEVE DIAMETER: 3.5MM MAKE - STANDER COMPNY | MTR |  | 6 | 0
168 | MMSSKM | NS | 2026 | 10403 | PVC PIPE I.S.I. SIZE- 1/2 INCH MAKE - ACROSS/SUPREME/ASHIRWAD/IDOL | MTR |  | 21 | 0
169 | MMSSKM | NS | 2026 | 6904 | PVC TANK JOINTER SIZE-1 INCHMAKE-ACROSS/SUPREME/ASHIRWAD/IDOL | NO |  | 7 | 0
170 | MMSSKM | NS | 2026 | 6908 | PVC TANK JOINTER SIZE-3/4MAKE-ACROSS/SUPREME/ASHIRWAD/IDOL | NO |  | 7 | 0
171 | MMSSKM | NS | 2026 | 9170 | ROSEMOUNT DP TRANSMITTER S.N. 00416363,MAXWP 3626PSI/250 BAR,CALL 0TO 1200MMH2O MAKE - ROSEMOUNT/NORWAY | NO |  | 1 | 0
172 | MMSSKM | NS | 2026 | 7638 | RUBBER BUCKET FOR PAN DISCHARGE 101X279X11 ID- 101MM, OD- 279.5MM, THICKNESS- 11MM MAKE - PURI INDUSTRIAL | NO |  | 3 | 0
173 | MMSSKM | NS | 2026 | 7637 | RUBBER BUCKET FOR PAN DISCHARGE 101X303X280 ID- 101MM, OD- 303MM, CENTER- 280MM, MAKE - PURI INDUSTRIAL | NO |  | 3 | 0
174 | MMSSKM | NS | 2026 | 3552 | RUBBER TYRE COUPLING SET PH-116 MAKE- BK JAGAN/UTKARSH/UNIQUE | NO |  | 5 | 0
175 | MMSSKM | NS | 2026 | 1913 | S.S. BIB COCK 1/2 MAKE-ACROSS/SUPREME/ASHIRWAD/IDOL | NO |  | 50 | 0
176 | MMSSKM | NS | 2026 | 6553 | S.S. LONG BIB COCK SIZE - 1/2 MAKE-ACROSS/SUPREME/ASHIRWAD/IDOL | NO |  | 18 | 0
177 | MMSSKM | NS | 2026 | 9343 | S.S. SCREEN TIGHTING CLAMP FOR UC-1100,AS PER SAMPLE, STANDARD | NO |  | 9 | 0
178 | MMSSKM | NS | 2026 | 9345 | S.S. TIGHTING CLAMP UC-1500 ,AS PER SAMPLE, STANDARD | NO |  | 10 | 0
179 | MMSSKM | NS | 2026 | 3921 | S.S.CLAMP L-TYPE FOR UC-1500 CONTINIOUS MACHINE AS PER SAMPLE | NO |  | 12 | 0
180 | MMSSKM | NS | 2026 | 9824 | SAFETY / RELIEF VALVE MODEL NO. - B165/CC41AA , SIZE -200X300 , SR.NO. -76130 MAKE - AINGER LESER VALVES PVT.LTD. | NO |  | 1 | 0
181 | MMSSKM | NS | 2026 | 7422 | SEAL KIT FOR AIR PNUMATIC CUT VALVE TYPE-PVC SIZE 300 MM MAKE- PURI INDUSTRIAL | SET |  | 4 | 0
182 | MMSSKM | NS | 2026 | 2526 | SEMI CONDUCTOR SQURE BODY DIN - 43653 BOLTED TAGS HIGH SPEED FUSE 630A/620 (IE) 700 (UL) CAT NO - 170M6144. / 170M 6011 MAKE - BUSSMAN | NO |  | 5 | 0
183 | MMSSKM | NS | 2026 | 9107 | SEMI CONDUCTOR SQURE BODY DIN- 43653 BOLTED TAGS HIGH SPEED FUSE. 630A, 1250 V (IE), 1300V (UL), CAT NO.- 170M6144./ 170M 6011 MAKE - BUSSMANN | NO |  | 5 | 0
184 | MMSSKM | NS | 2026 | 9068 | SINGLE ISOLATOR INPUT 4ma to 20ma ,OUTPUT 4ma to 20ma 4th CHANNEL MAKE - MASIBUS /TECHNO/NEXUS | NO |  | 2 | 0
185 | MMSSKM | NS | 2026 | 6895 | Single Phase Amp Meter Digital (4 Digit) ITEM CODE - 129180611 MAKE - A.E. | NO |  | 12 | 0
186 | MMSSKM | NS | 2026 | 9380 | SINGLE SPROCKET CHAIN PITCH- 25 MM, LENGTH - 85 INCH (AS PER SAMPLE) MAKE - STANDARD | NO |  | 1 | 0
187 | MMSSKM | NS | 2026 | 9381 | SINGLE SPROCKET CHAIN PITCH- 25 MM, LENGTH - 98 INCH (AS PER SAMPLE) MAKE - STANDARD | NO |  | 1 | 0
188 | MMSSKM | NS | 2026 | 5671 | SLOGGING RING SPANNER/HAMMER 55 MM MAKE - TAPARIA | NO |  | 1 | 0
189 | MMSSKM | NS | 2026 | 9214 | SLOGGING SPANNER (RING END) SIZE- 30 MM HEAVY DUTY MAKE - TAPARIA | NO |  | 2 | 0
190 | MMSSKM | NS | 2026 | 9558 | SOLENOID VALVE RIPERING KIT MAKE - ROTEX/ KARMA/NORWAY | NO |  | 4 | 0
191 | MMSSKM | NS | 2026 | 9413 | SOLENOID VALVE WITH , MODEL : - 4V310.08B,PRESSURE - 0.75-0.8 MPA,SUPPLY 230 AC MAKE - TEC | NO |  | 1 | 0
192 | MMSSKM | NS | 2026 | 9401 | SOLENOIDE VALVE WITH COIL FOR IR COMPERESSOR SOLENOIDE VALVE WITH COIL FOR IR COMPERESSOR , TYPE 30308-5-2R WNO10100541/1/4ATM0-10 MAKE - IR COMPRESSOR | NO |  | 1 | 0
193 | MMSSKM | NS | 2026 | 6803 | SPLIT PIN FOR CONVEYOR CHAIN 1048 MAKE - STITCHWELL STITCHING M/C 1309 MOD 80000 DX SPARE - STITCWELL | NO |  | 150 | 0
194 | MMSSKM | NS | 2026 | 9348 | SPRING STEEL STRIP, SIZE - 900 MM LENGTH X WIDTH - 80 MM X THICKNESS - 1.5 MM, STANDARD QUILITY | NO |  | 36 | 0
195 | MMSSKM | NS | 2026 | 290077 | spring washer 1/2 INCH STANDARD QUALITY | NO |  | 70 | 0
196 | MMSSKM | NS | 2026 | 5159 | SPRING WASHER 1/4 INCH STANDARD QUALITY | NO |  | 50 | 0
197 | MMSSKM | NS | 2026 | 9726 | SQUARE BAR 50x50 MM (FOR CANE UNLOADER) | MTR |  | 12 | 0
198 | MMSSKM | NS | 2026 | 9722 | SQUARE BAR 65x65 MM (FOR CANE UNLOADER) | MTR |  | 18 | 0
199 | MMSSKM | NS | 2026 | 6502 | SQUARE TIP TOOL, SIZE 10x25 MM MM MAKE - SANVICK/MIRANDA | NO |  | 10 | 0
200 | MMSSKM | NS | 2026 | 6501 | SQUARE TIP TOOL, SIZE 8X25 MM MM MAKE - SANVICK/MIRANDA | NO |  | 10 | 0
201 | MMSSKM | NS | 2026 | 8678 | STACKER IRON SLAT WITH ROLLER SIZE - 712 MM X 50 X25 ( AS PER SAMPLE) STANDARD | NO |  | 12 | 0
202 | MMSSKM | NS | 2026 | 9530 | STAR DELTA TIMER EIRES-225, SUPPLY VOLTAGE 240VAC, CONTACTS-5A.RANGE-30/60/90/120 SEC, CAT NO.- 20STDO MICON ELECTRONIC TIMER MAKE - GIC/GENERAL | NO |  | 1 | 0
203 | MMSSKM | NS | 2026 | 9320 | STEEL EXTERNAL CIRCLIP SIZE - 72 X 80 X 2.5MM | NO |  | 20 | 0
204 | MMSSKM | NS | 2026 | 3033 | STITCHING Machine Oil | litre |  | 20 | 0
205 | MMSSKM | NS | 2026 | 9393 | SUMBERSIBLE PUMP WITH MOTOR, STARTER, 440V, 3 PHASE, 10 HP, 2900 RPM MAKE - KIRLOSKAR/CROMPTON/TEXMO EQUA | NO |  | 1 | 0
206 | MMSSKM | NS | 2026 | 9394 | SUMBERSIBLE PUMP WITH MOTOR, STARTER, 440V, 3 PHASE, 7.5 HP, 2900 RPM MAKE - KIRLOSKAR/CROMPTON/TEXMO EQUA | NO |  | 3 | 0
207 | MMSSKM | NS | 2026 | 2123 | T.B. WITH ITS CLIP FOR CENTRIFUGAL MAKE-FTC,SIZE 6MM 2-750 VAC | NO |  | 15 | 0
208 | MMSSKM | NS | 2026 | 9806 | TAFLOAN GLAND PACKING, SIZE- 5 MM | NO |  | 2 | 0
209 | MMSSKM | NS | 2026 | 6906 | TANK OVERFLOW VALVE SIZE-1/2 INCHMAKE-ACROSS/SUPREME/ASHIRWAD/IDOL | NO |  | 11 | 0
210 | MMSSKM | NS | 2026 | 2827 | Top Botton Rubber v seal size-uc-1100 | SET |  | 18 | 0
211 | MMSSKM | NS | 2026 | 9065 | TURMINAL OPOXY BOX FOR FABRIZER MOTOR 500KW, MAKE-CRMPTION GREAVES | SET |  | 1 | 0
212 | MMSSKM | NS | 2026 | 9325 | U, BOLTS & NUT ,SIZE- 20MM | NO |  | 5 | 0
213 | MMSSKM | NS | 2026 | 6901 | UPVC PLAIN COOK SIZE1 INCH, MAKE - ACROSS/SUPREME/ASHIRWAD/IDOL | NO |  | 20 | 0
214 | MMSSKM | NS | 2026 | 9503 | UPVC SOCKET SIZE- 90 MM MAKE - ACROSS/SUPREME/ASHIRWAD/IDOL | NO |  | 10 | 0
215 | MMSSKM | NS | 2026 | 9542 | UPVC SOLVENT MAKE - ACROSS/SUPREME/ASHIRWAD/IDOL | litre |  | 1 | 0
216 | MMSSKM | NS | 2026 | 10830 | UPVC TEE 1 INCH MAKE - ACROSS/SUPREME/ASHIRWAD/IDOL | NO |  | 1 | 0
217 | MMSSKM | NS | 2026 | 2464 | U-TYRE COUPLING FOR UC-1500 CONTINIOUS MACHINE AS PER SAMPLE | NO |  | 6 | 0
218 | MMSSKM | NS | 2026 | 9557 | VACCUME GAUGE RANGE 0 TO 30 HG BODY SS, CONNECTING SIZE 3/8 BSP DAIL SIZE 4INCH MAKE - BOWMAR / GENERAL/NORWAY | NO |  | 1 | 0
219 | MMSSKM | NS | 2026 | 9505 | VCB RELAY,TYPE- REM601BE446BB1NH 24-240 VAC/DC | NO |  | 2 | 0
220 | MMSSKM | NS | 2026 | 9378 | VOLTAGE TRANSFORMER RATIO - (11v3)/(110Vv3),BURDEN - 30 VA,CLASS - 0.2,INSULATION LABLE - 12/28/750KV,S.N - Z33969,MAKE - INSTRANS. | NO |  | 3 | 0
221 | MMSSKM | NS | 2026 | 9159 | VOLTMETER SELECTOR SWITCH 6A-16A , MAKE- L&T MAKE - L&T/SCHNEIDER | NO |  | 3 | 0
222 | MMSSKM | NS | 2026 | 4258 | WASH BASIN West Pipe MAKE-ACROSS/SUPREME/ASHIRWAD/IDOL | NO |  | 16 | 0
223 | MMSSKM | NS | 2026 | 7696 | WIRE FERRULES TERMINALS KIT SIZE 0.5, 1, 1.5 SQ MM (Crimping tool) MAKE - JANATICS/KARMA /NORWAY | SET |  | 1 | 0
224 | MMSSKM | NS | 2026 | 1523 | WOODEN BOARD WITH SUNMICA 6X8 INCH MAKE - STANDARD QUALITY | NO |  | 3 | 0
225 | MMSSKM | NS | 2026 | 1526 | WOODEN BOARD WITH SUNMICA 8X10 INCH MAKE - STANDARD QUALITY | NO |  | 2 | 0
226 | MMSSKM | NS | 2026 | 8228 | WOODEN STRIP L-630, W-48, THICK-37 MM AS PER SAMPLE MAKE - BAKALI/DEVDAR/SAGAUN | NO |  | 25 | 0
227 | MMSSKM | NS | 2026 | 9223 | YOKOGAWA UM33A DIGITAL INDICATOR MAKE - YOKOGAWA | NO |  | 1 | 0
228 | MMSSKM | NS | 2026 | 9226 | YOKOGAWA UT35A DIGITAL INDICATOR MAKE - YOKOGAWA | NO |  | 1 | 0
229 | MMSSKM | NS | 2026 | 10982 | AIR FILTER ELEMENT MAKE - ATLAS | NO |  | 2 | 0
230 | MMSSKM | NS | 2026 | 10983 | SEFTY CARTAGE MAKE - ATLAS | NO |  | 1 | 0
231 | MMSSKM | NS | 2026 | 10984 | FILTER OIL MAKE - ATLAS | NO |  | 1 | 0
232 | MMSSKM | NS | 2026 | 10981 | OIL RS ULTRA SL MAKE - ATLAS | NO |  | 3 | 0
233 | MMSSKM | NS | 2026 | 11086 | RAKE OUT GEAR FOR INDOOR VACUME CIRCUIT BREAKER, VOLTAGE- 12KB APM-800 | NO |  | 2 | 0
234 | MMSSKM | NS | 2026 | 11067 | DRY BATTERY UPST 200 - 2V MAKE - EXIDE | NO |  | 2 | 0
235 | MMSSKM | NS | 2026 | 11056 | DC POWER PACK , 230VAC/220VDC FOR FEBRIZER MAKE - ADITYA | NO |  | 2 | 0
236 | MMSSKM | NS | 2026 | 11029 | AUTOMATIC ROTOR CONTROLLER , MODEL NO- RC1-132 SPRAY PUMP | NO |  | 1 | 0
237 | MMSSKM | NS | 2026 | 1551 | SPEEDOL GRAESE EP2 HIGH TEMPRETUR MOLY | KG |  | 160 | 0
238 | MMSSKM | NS | 2026 | 2365 | CPU CONTROLLER WITH DISPLAY D19203R3 MAKE - POWER CON | NO |  | 1 | 0
239 | MMSSKM | NS | 2026 | 8227 | WOODEN STRIP, SIZE - 900 MM LENGTH X WIDTH - 80 MM X THICKNESS - 10 MM MAKE - BAKALI /DEVDAR / SAGAUN | NO |  | 68 | 0
240 | MMSSKM | NS | 2026 | 1434 | VALVE LAPING COMPOUND ROUGH - 500 GM PACK MAKE - CORBORANDAM | NO |  | 12 | 0
241 | MMSSKM | NS | 2026 | 1897 | VALVE LAPING COMPOUND FINE - 500 GM PACK MAKE - CORBORANDAM | NO |  | 12 | 0
242 | MMSSKM | NS | 2026 | 7204 | BRIDGE GEAR BOX, TYPE-H. B 350, RATIO- 48.57/1. DRIVING SHAFT (SS) FIRST MOTION MAKE - NILESH ENGINEERING | NO |  | 1 | 0
243 | MMSSKM | NS | 2026 | 9066 | UNIVERSAL JOINT COUPLING WITH SPLIN SHAFT (AS PER SAMPLE) MAKE - J&A/MS ENGG/KSBSAI | NO |  | 1 | 0
244 | MMSSKM | NS | 2026 | 9112 | VERNIER CALIPER SIZE-6" ZERO ERROR MAKE - MITUTOYA | NO |  | 1 | 0
245 | MMSSKM | NS | 2026 | 290090 | MS BOLT WITH NUT SIZE- 12X50 MAKE - STANDARD QUALITY | KG |  | 190 | 0
246 | MMSSKM | NS | 2026 | 11129 | EN8 ROD SIZE-150 MM WITH MANUFACTURING CERTIFICATE MAKE-STANDRED | MTR |  | 3 | 0
247 | MMSSKM | NS | 2026 | 11130 | DIGITAL ULTRASONIC MACHINE USE FOR MATERIAL THICKNESS TESTING | NO |  | 1 | 0
248 | MMSSKM | NS | 2026 | 5666 | MS BOLT WITH NUT 20X180 MM HT MAKE STANDARD QUALITY | KG |  | 20 | 0
249 | MMSSKM | NS | 2026 | 2086 | IBR VALVE ENDED WELD SIZE-1/2" CLASS 800 MAKE-KSB | NO |  | 2 | 0
250 | MMSSKM | NS | 2026 | 7927 | WORK FOR JUICE SULPHITOR TANK DIS FEB ERE AND FITTING | NO |  | 1 | 0
251 | MMSSKM | NS | 2026 | 3677 | kit complet over haul 2340, 70241922 | SET |  | 2 | 0
252 | MMSSKM | NS | 2026 | 3698 | T30 DISTICT PLUS 5 LTR PACK | litre |  | 10 | 0
253 | MMSSKM | NS | 2026 | 3714 | OIL FILTER 30472161 MAKE - IR | NO |  | 4 | 0
254 | MMSSKM | NS | 2026 | 4968 | KIT OVERHAUL 2545 COMPRESSOR 70240940AS01 MAKE - IR | SET |  | 2 | 0
255 | MMSSKM | NS | 2026 | 3699 | RING PISTON 7 ESV 95215752 MAKE - IR | NO |  | 6 | 0
256 | MMSSKM | NS | 2026 | 3700 | RING WEARING 7 , 7032506322 HIN597 5MAKE - IR | NO |  | 9 | 0
257 | MMSSKM | NS | 2026 | 3705 | GUIDE VALVE 37041324 MAKE - IR | NO |  | 20 | 0
258 | MMSSKM | NS | 2026 | 3704 | HOLDER GUIDE 37025491 MAKE - IR | NO |  | 20 | 0
259 | MMSSKM | NS | 2026 | 3715 | GASKET SET 7X5 70388640 MAKE - IR | SET |  | 4 | 0
260 | MMSSKM | NS | 2026 | 3709 | O RING 95018164 20A11BM218 MAKE - IR | NO |  | 10 | 0
261 | MMSSKM | NS | 2026 | 1925 | CARBIDE TIP TOOL V SHAPE TOOL LEFT HAND SIZE - 3/4 | NO |  | 20 | 0
262 | MMSSKM | NS | 2026 | 7707 | SHAFT INSULATING COUPLING L520 MM FOR ESP | NO |  | 4 | 0
263 | MMSSKM | NS | 2026 | 8770 | SUPPLY OF PAVER COLOR FULL PRIMIUM BRICKS,SIZE - 60 MM THICK,STANDARD SIZE. | NO |  | 500 | 0
264 | MMSSKM | NS | 2026 | 11137 | MOTOR FOR CANE LEVELLER COPPER FLEXIBLE LINK KW 185 AS PER SAMPLE MAKE- MARATHON | NO |  | 30 | 0
265 | MMSSKM | NS | 2026 | 11138 | HT 11 KV MOTOR TERMINAL INSULATOR BOX PSTB FOR FIBRIZER MAKE - CROMPTON GREAVES | NO |  | 6 | 0
266 | MMSSKM | NS | 2026 | 11139 | MOTOR FOR PLANETRY GEAR BOX VACCUME CRYSTELLIZER AIR COOLED CRYSTELLIZER PUGMILL 3.7 KW 5HP RPM 1440 CONNECTION DELTA 3PHASE VOLT 415 FRAME 112 TYPE B5 MAKE KAVISTU/MARATHON/CROMPTON | NO |  | 5 | 0
267 | MMSSKM | NS | 2026 | 2851 | S.S ALLANKEY BOLT 12X40 MAKE - TVS | NO |  | 94 | 0
268 | MMSSKM | NS | 2026 | 9324 | ALLEN GRUB SCREW SIZE - 10X20 MM MAKE - TVS | NO |  | 10 | 0
269 | MMSSKM | NS | 2026 | 9321 | ALLEN GRUB SCREW SIZE - 6X20 MM MAKE - TVS | NO |  | 10 | 0
270 | MMSSKM | NS | 2026 | 9322 | ALLEN GRUB SCREW SIZE - 8X15 MM MAKE - TVS | NO |  | 10 | 0
271 | MMSSKM | NS | 2026 | 5782 | ALLEN KEY SET MM , INCH MAKE - TAPARIA | SET |  | 1 | 0
272 | MMSSKM | NS | 2026 | 2862 | S.S. Allenkey Bolt M20X50 MAKE - TVS | NO |  | 10 | 0
273 | MMSSKM | NS | 2026 | 3446 | H.T. Allen Bolt 8X20MM MAKE - TVS | NO |  | 10 | 0
274 | MMSSKM | NS | 2026 | 3447 | H.T. Hex Bolt (H.T.) 6X16 MAKE - TVS | NO |  | 20 | 0
275 | MMSSKM | NS | 2026 | 3452 | H.T. Hex Bolt 10X35 MAKE - TVS | NO |  | 10 | 0
276 | MMSSKM | NS | 2026 | 3564 | H.T. ALLEN BOLT M 12X40MM MAKE - TVS | NO |  | 50 | 0
277 | MMSSKM | NS | 2026 | 5165 | NYLOCK NUT - 24 MM MAKE - TVS | NO |  | 60 | 0
278 | MMSSKM | NS | 2026 | 5169 | H.T. BOLT (F.T.) 12x35 mm MAKE - TVS | NO |  | 10 | 0
279 | MMSSKM | NS | 2026 | 5172 | H.T. BOLT (F.T.) 8x30 mm MAKE - TVS | NO |  | 30 | 0
280 | MMSSKM | NS | 2026 | 5178 | H.T. BOLT (F.T.) 10x25 mm MAKE - TVS | NO |  | 20 | 0
281 | MMSSKM | NS | 2026 | 5263 | H.T. BOLT 6X35 MM MAKE - TVS | NO |  | 40 | 0
282 | MMSSKM | NS | 2026 | 5304 | H.T. BOLT 8X50 MM MAKE - TVS | NO |  | 10 | 0
283 | MMSSKM | NS | 2026 | 5804 | H.T. BOLT 8X40 MM (F/T) MAKE - TVS | NO |  | 60 | 0
284 | MMSSKM | NS | 2026 | 6045 | H.T. BOLT M20X65 WITH NYLOCK NUT (H.T.) MAKE - TVS | NO |  | 10 | 0
285 | MMSSKM | NS | 2026 | 6745 | H.T. BOLT WITH NYLOCK NUT HALF THREAD -24X75MM MAKE - TVS | NO |  | 50 | 0
286 | MMSSKM | NS | 2026 | 8670 | HT ALLENKEY BOLT 12X30 MAKE - TVS | NO |  | 18 | 0
287 | MMSSKM | NS | 2026 | 9650 | H.T BOLTS /NUT(FULL.THREAD) - 6 X 40 MM MAKE - TVS | NO |  | 75 | 0
288 | MMSSKM | NS | 2026 | 9663 | H.T. HEXA BOLT - M12 X 30 MM MAKE - TVS | NO |  | 10 | 0
289 | MMSSKM | NS | 2026 | 9666 | S.S. ALLEN BOLT - M12 X 50 MM MAKE - TVS | NO |  | 30 | 0
290 | MMSSKM | NS | 2026 | 9667 | H.T. BOLT - 12X 40 MM HALF THREAD MAKE - TVS | NO |  | 41 | 0
291 | MMSSKM | NS | 2026 | 9669 | H.T BOLTS (FULL.THREAD) - 16 X 75 MM MAKE - TVS | NO |  | 40 | 0
292 | MMSSKM | NS | 2026 | 9675 | S.S. BOLT - 6 X 30 MM MAKE - TVS | NO |  | 20 | 0
293 | MMSSKM | NS | 2026 | 9676 | S.S. BOLT - 8 X 30 MM MAKE - TVS | NO |  | 50 | 0
294 | MMSSKM | NS | 2026 | 9677 | S.S. BOLT - 8 X 25 MM WITH WASHER THICK- 5MM MAKE - TVS | NO |  | 50 | 0
295 | MMSSKM | NS | 2026 | 9678 | S.S. BOLT - 16 X 40 MM MAKE - TVS | NO |  | 10 | 0
296 | MMSSKM | NS | 2026 | 9680 | H.T. BOLT WITH NOYLOCK NUT - 24 X 65 MM MAKE - TVS | NO |  | 23 | 0
297 | MMSSKM | NS | 2026 | 10207 | S.S. ALLEN BOLT - M 12 X 35 MM MAKE - TVS | NO |  | 25 | 0
298 | MMSSKM | NS | 2026 | 290060 | H.T. BOLT WITH NYLOCK HT 24X90 MM MAKE - TVS | NO |  | 100 | 0
299 | MMSSKM | NS | 2026 | 5719 | MESCHERD KNIFE FOR MILL ROLLER AND SIZE -6MM THIK X45 MM WIDTH X 510 MM LONG MATRIAL GR-EN-39, AS PER SAMPLE MAKE- STANDARD QUALITY | NO |  | 23 | 0
300 | MMSSKM | NS | 2026 | 4545 | CI SOLID ROD 100X12 | NO |  | 2 | 0
301 | MMSSKM | NS | 2026 | 4788 | CI ROD 5X12 | NO |  | 1 | 0
302 | MMSSKM | NS | 2026 | 11158 | DRY SEED CONVEYOR ENDLESS BELT FOOD GRADE,LENGHT SIZE -46.2MTR X WIDTH-600MM X THICKNES-6MM AS PER EXISTING MAKE GAURAV ENGG/MITTAL RUBBER PVT LTD/JAI SHREE ENTERPRISES/SURYA CHAINS PVT LTD | NO |  | 1 | 0
303 | MMSSKM | NS | 2026 | 11157 | FIBER TOP COVER OF GRADER AS PER SAMPLE | SET |  | 1 | 0
304 | MMSSKM | NS | 2026 | 9979 | DRY SEED CONVEYOR ENDLESS BELT FOOD GRADE SIZE 17200MM X 590MM AS PER EXISTING MAKE GAURAV ENGG/MITTAL RUBBER PVT LTD/JAI SHREE ENTERPRISES/ SURYA CHAINS PVT LTD | NO |  | 1 | 0
305 | MMSSKM | NS | 2026 | 5240 | LOAD CELL PART-30310/OUT PUT-2.9980mV/Ve100KG,MAKE-ADI ACTECH | NO |  | 4 | 0
306 | MMSSKM | NS | 2026 | 2569 | LIMIT SWITCH FOR BAGGING MACHINE BC9(T) IP-67 MAKE-JAI BALJI SAME POLARTY-1NO+NC,415V-50Hz,1.2A, AC15/DC13,THERMAL CURRENT-1th,10A@ 240V AC/13DC IMPULSE VOLTAGE-1.5KV | NO |  | 6 | 0
307 | MMSSKM | NS | 2026 | 7226 | SOLENOID VALVE WITH COIL,DC24V/3.0W, MAKE- ROTEX VOLTAGE RANGE-DC21.6V/26.4V,IP-65,AIR PRESSURE-0.5-0.8MPA,MODEL NO-4V 210-08 | NO |  | 10 | 0
308 | MMSSKM | NS | 2026 | 11176 | AIR FILTER (SIZE-HIGHT-250MM,OD-155MM,ID-80MM) FOR AIR BLOWER CAP-300M3/HR,MAKE-KAY INTERNATIONAL PVT LTD | NO |  | 1 | 0
309 | MMSSKM | NS | 2026 | 11177 | AIR FILTER (SIZE-HIGHT-240MM,OD-280MM,ID-120MM) FOR AIR BLOWER CAP-600M3/HR,MAKE-KTP | NO |  | 1 | 0
310 | MMSSKM | NS | 2026 | 2308 | WIRE BRAIDED RUBBER HOSE PIPE FOR 45000 PSI USED FOR HOT WATER , SIZE - 1-1/4 ''TEMPRETURE - 100* C , MAKE -STANDARD | MTR |  | 50 | 0
311 | MMSSKM | NS | 2026 | 5557 | PROFILE SHEET FOR INDUSTRIAL USED SIZE - THICKNESS - 0.5 MM , MAKE - TATA | SHEET |  | 50 | 0

## REFERENCE
Department Name | Code | SOR Name | SOR | UOM Name | UOM Code | false198161
36 Incubation Center (AIC 36Inc) Chhattisgarh(36INC) | 36INC | PHE | PHE | Percentage | %
ASSISSTANT COMMISSIONAR TRIBAL DEVELOPMENT NARAYANPUR C.G(ACTDN) | ACTDN | PHED | PHED1 | % of Cost of Bridge (excluding Maintenance) sanctioned by competent authority | % of Cost of Bridge (excluding Maintenance) sanctioned by competent authority
Assistant commissionar tribal development sakti (C.G)(ACTDSKT) | ACTDSKT | RES_BUILDING | RESBDG | Per mile | %O
Assistant commissioner tribal department Dantewada(ACTDD) | ACTDD | NON DSR BUILDING 2018 | NON DSR BUILDING | 1 Job | 1 Job
Atal Bihari Vajpayee Vishvavidyalaya,Bilaspur Chhattisgarh(ABVVBC) | ABVVBC | BRIDGE | PWD_BRIDGE | 1000 no. | 1000 no.
Balod District Urban Public Service Society(BALDUPSS) | BALDUPSS | DSR BUILDING 2016 | DSR BUILDING | 1000 piece | 1000 piece
Baloda Bazar District Urban Public Service Society(BBDUPSS) | BBDUPSS | NON SOR | NS | 1000No. | 1000No.
Balrampur District Urban Public Service Societ(BPDUPSS) | BPDUPSS | CPWD DSR 2016 | CPWD DSR 2016 | Print | 123
Bastar District Urban Public Service Society(BASTARJUPS) | BASTARJUPS | PWD ROAD | PWD ROAD | Per Diem Rate | 1234
Bastar Urban Public Service Society (BSTUPSS) | BSTUPSS | WRD | WRD | MAN DAYS | 12345
Bemetara District Urban Public Service Society(BEMDUPSS) | BEMDUPSS | ELECTRIC | ELECT | 1 Box | 1B
Bhoramdev Sahakari Sugar Production Factory-Kabirdham(BSSPFK) | BSSPFK | PMGSY SOR | PMGSY | 1 Piece | 1P
Bijapur District Urban Public Service Society(BIJAPURUPS) | BIJAPURUPS | Creda SOR | CREDA_SOR | 1 Strip | 1S
Bilaspur District Urban Public Service Society(BJUPSS) | BJUPSS | PWD BUILDLING | PWD BLD | 1 Tube | 1T
Bilaspur Smart City Limited(BSCL) | BSCL | DSR ELECTRICAL 2016 | DSR ELECTRICAL | PRINT | 678
Bilaspur Urban Public Service Society (BSPUPSS) | BSPUPSS |  |  | Siemens Per meter | A/V
CG Building and other Construction workers welfare Board (CGBOCW) | CGBOCW |  |  | Acre | ACR
Chhattisgarh Academy of Administration Nimora Raipur(CAOANR) | CAOANR |  |  | AMC | AMC
Chhattisgarh Board of Secondary Education(CBOSE) | CBOSE |  |  | AMPOULE | AMP
Chhattisgarh Council of Science &amp; Technology(CCST) | CCST |  |  | Price Should be quoted as per SKU in Aneexure-I of Tender Document | APT
Chhattisgarh Department of Agriculture (CGDA) | CGDA |  |  | As per Tender | APT1
CHHATTISGARH ENVIRONMENT CONSERVATION BOARD(CECB) | CECB |  |  | Single Rate (1 Tablet/1 capsule/1 Amp/1 Vial /1 Bottle/1 Kit/1 Test Kit) | APT2
Chhattisgarh Government Labour Department(CGLD) | CGLD |  |  | Activity unit | AU
Chhattisgarh Handicraft Board (CGHCB) | CGHCB |  |  | Bag | BAG
Chhattisgarh High Court, Bilaspur (CGHC) | CGHC |  |  | barrel | barrel
Chhattisgarh Housing Board (CGHB) | CGHB |  |  | Batch | Batch
Chhattisgarh Infotech Promotion Society (CHiPS) | CHiPS |  |  | BHQ | BHQ
Chhattisgarh Kamdhenu Vishwavidyalaya(CGKV) | CGKV |  |  | Book | BK
Chhattisgarh Khadi &amp; Village Industries Board(CGKVIB) | CGKVIB |  |  | BOTTLE | BOT
Chhattisgarh livestock development Agency(CLDA) | CLDA |  |  | Box | BOX
Chhattisgarh Medical Services Corporation Ltd. (CGMSC) | CGMSC |  |  | Gallons per hour (US) | BPH
Chhattisgarh Mineral Development Corporation Ltd(CMDC) | CMDC |  |  | Brass | Brass
Chhattisgarh Police Housing Corporation Ltd (CGPHC) | CGPHC |  |  | Billing Rate Per Month | BRM
Chhattisgarh Railway Corporation Ltd(CRCL) | CRCL |  |  | Bottle | BT
Chhattisgarh Rajya Beej Evam Krishi Vikas Nigam (CGRBEKVN) | CGRBEKVN |  |  | BUNCH | BUNCH
Chhattisgarh Rajya Sahakari Bank Mydt(CRSBM) | CRSBM |  |  | Bundle | Bundle
Chhattisgarh Regional Science Centre Society(CRSCS) | CRSCS |  |  | Cubic sentimeter /second | C3S
Chhattisgarh Road Development Corporation Limited(CGRDC) | CGRDC |  |  | Canister | CAN
Chhattisgarh State BharatNet Infrastructure Limited(CSBIL) | CSBIL |  |  | Carton | CAR
Chhattisgarh State Civil Supplies Corp. Limited (SCSC) | SCSC |  |  | Cubic Centimeter | CCM
Chhattisgarh State Co-Operative Marketing Federation Limited(CGMARKFED) | CGMARKFED |  |  | Cubic decimeter | CD3
Chhattisgarh State Cooperative Dairy Federation Ltd.(CGCDF) | CGCDF |  |  | Centiliter | CL
Chhattisgarh State Election Commission(CSEC) | CSEC |  |  | cm | cm
Chhattisgarh State Industrial Development Corporation (CSIDC) | CSIDC |  |  | Centimeter | CM
Chhattisgarh State Information Infrastructure Corporation Limited(CSIICL) | CSIICL |  |  | Square centimeter | CM2
Chhattisgarh State Mandi Board (CGSMB) | CGSMB |  |  | coils | coils
Chhattisgarh State Minor Forest Produce-Trading & Development Co-Operative Federation Ltd (CGMFPFED) | CGMFPFED |  |  | COILS | Coils
Chhattisgarh State Power Distribution Company Limited (CGSPDCL) | CGSPDCL |  |  | CONE | CONE
Chhattisgarh State Power Generation Company Limited (CGSPGCL) | CGSPGCL |  |  | Copies | Copies
Chhattisgarh State Power Transmission Company Limited (CGSPTCL) | CGSPTCL |  |  | Crate | CRT
Chhattisgarh State Renewable Energy Development Agency(CREDA) | CREDA |  |  | Case | CS
Chhattisgarh State Skill Development Authority(CSSDA) | CSSDA |  |  | Cu. Inch | Cu. Inch
Chhattisgarh State Warehousing Corporation (CGSWC) | CGSWC |  |  | Cu.Mtr. | Cu.Mtr.
Chhattisgarh Text Book Corporation (CGTBC) | CGTBC |  |  | cubic feet | cubic feet
CHHATTISGARH TOURISM BOARD(CGT) | CGT |  |  | cubic feet (CFT) | cubic feet (CFT)
Chhattisgarh Transport Department(CTD) | CTD |  |  | cum | cum
CHIEF MEDICAL AND HEALTH OFFICER RAIGARH(CMAHOR) | CMAHOR |  |  | cum.km | cum.km
Collectorate Balod(CB) | CB |  |  | Days | DAY
Danteshwari Maiya Shahkari Shakkar Karkhana Maryadit Balod(DMSSK) | DMSSK |  |  | Degree | DEG
Dantewada District Urban Public Service Society(DANTEWADAU) | DANTEWADAU |  |  | DFLT | DFLT
Department of Good Governance and Convergence(DGGC) | DGGC |  |  | DHQ | DHQ
Department of Home Guard and Civil Defence Chhattisgarh (HGCD) | HGCD |  |  | DHQ-BHQ | DHQ-BHQ
Department of Panchayat and Social Welfare (DPSW) | DPSW |  |  | Decimeter | DM
Department of School Education (DSE) | DSE |  |  | Drum | DR
Department of Technical Education (DTE) | DTE |  |  | DRUM | DRUM
Department of Tribal and Scheduled Caste Manendragarh-Chirmiri-Bharatpur(DTSCMCB) | DTSCMCB |  |  | Dozen | DZ
Department of Women and Child Development(WCD) | WCD |  |  | EACH | EA
Dhamtari Jila Urban Public Service Society(DJUPSS) | DJUPSS |  |  | each | each
Directorate Financial Management and Information System(DFMAIS) | DFMAIS |  |  | EACH | EACH
Directorate Horticulture and Farm Forestry, Chhattisgarh(DHF) | DHF |  |  | each additional floor | each additional floor
Directorate of Printing and Stationery(DOPAS) | DOPAS |  |  | Each Courty | Each Court
Directorate of Archaeology, Archives and Museum(DAAM) | DAAM |  |  | each cut | each cut
Directorate of Aviation(DoA) | DoA |  |  | EACH FRAME | EACH FRAME
Directorate of CG Food And Civil Supplies and Consumer Protection(DSCSC) | DSCSC |  |  | Each rol | Each rol
Directorate of Culture and Archaeology Chhattisgarh(DOCAAC) | DOCAAC |  |  | each test | each test
Directorate of Culture and Language(DCL) | DCL |  |  | each tree guard | each tree guard
Directorate of Employment and Training(DOEAT) | DOEAT |  |  | each tree guard | each tree guard
Directorate of Fisheries (DF) | DF |  |  | Each box | EB
Directorate of Higher Education Chhattisgarh(DOHEC) | DOHEC |  |  | Enzyme Units / Milliliter | EML
Directorate of Industries(DOI) | DOI |  |  | Each TAPE | ET
Directorate of Institutional Finance(DIF) | DIF |  |  | Enzyme Units | EU
Directorate of Local Fund Audit(DOLFA) | DOLFA |  |  | For each (Unit) Quantity | For each (Unit) Quantity
Directorate of Social Welfare Chhattisgarh(DSWC) | DSWC |  |  | For each PPE KIT | For each PPE KIT
Directorate of Sports and Youth Welfare(DSYW) | DSYW |  |  | For each Test KIT | For each Test KIT
Directorate of Treasury Accounts &amp; Pension, Chhattisgarh(DTAPC) | DTAPC |  |  | For each VTM Kit | For each VTM Kit
Directorate of Tribal and Schedule Caste Development(DTSCD) | DTSCD |  |  | Fluid Ounce US | FOZ
Directorate of Tribal Research and Training Institute(DOTRATI) | DOTRATI |  |  | Feet | FT
Directorate of Veterinary Services Chhattisgarh(DVSC) | DVSC |  |  | Square foot | FT2
DISTRICT POLICE KORBA(DPK) | DPK |  |  | Cubic Foot | FT3
District Project Livelihood College Society (DPLCS) Dantewada(DPLCS) | DPLCS |  |  | Gigajoule | FY
District Project Livelihood College Society (DPLCS) Raigarh(DPLCSR) | DPLCSR |  |  | Gram | G
Durg District Urban Public Service Society(DDUPSS) | DDUPSS |  |  | gram act.ingrd /liter | G/L
Durg-Bhilai Urban Public Service Society (DBUPSS) | DBUPSS |  |  | US gallon | GAL
Food and Drug Administration (FDA) | FDA |  |  | Gram Gold | GAU
Forest Department(FD) | FD |  |  | Gram act.ingrd. | GI
Gariaband District Urban Public Service Society(GDUPSS) | GDUPSS |  |  | Gram /liter | GLI
Gaurella Pendra Marwahi District Urban Public Service Society(GPMDUPSS) | GPMDUPSS |  |  | Gram/Mol | GM
Health Department (HD) | HD |  |  | Gram/Kilogram | gm/kg
IIIT Naya Raipur(IIITNR) | IIITNR |  |  | Gram /square meter | GM2
Indira Gandhi Krishi Vishwavidyalaya (IGKV) | IGKV |  |  | Gram/Cubic meter | GM3
Inspector General of Registration and Superintendent of Stamps(IGRS) | IGRS |  |  | Gigaohm | GOH
Janjgir Champa District Urban Public Service Society(JCDUPSS) | JCDUPSS |  |  | Gallons per mile (US) | GPM
Jashpur District Urban Public Service Society(JASDUPSS) | JASDUPSS |  |  | Gross | GRO
Jila Nirman Samiti Jagdalpur(JNSJ) | JNSJ |  |  | Hour | H
Jila Nirman Samiti Narayanpur(JNSN) | JNSN |  |  | Hectare | HA
Jila Sahakari Kendariya Bank Mydt. Raipur(JSKBM) | JSKBM |  |  | hectare | hectare
Jila Sahakari Kendriya Bank Mydt. Durg (CG)(JSKBMD) | JSKBMD |  |  | Hectoliter | HL
Kanker District Urban Public Service Society(KANDUPSS) | KANDUPSS |  |  | hour | hour
Kawardha District Urban Public Service Society(KAWDUPSS) | KAWDUPSS |  |  | Horse power | HP
Kondagaon District Urban Public Service Society(KONUPSS) | KONUPSS |  |  | Hours | HR
Korba District Urban Public Service Society(KJUPSS) | KJUPSS |  |  | Hours | Hrs
Korba Urban Public Service Society (KRBAUPSS) | KRBAUPSS |  |  | hundred Pieces | hundred Pieces
Korea District Urban Public Service Society(KDUPSS) | KDUPSS |  |  | HALF YEARLY | HY
Koriya Urban Public Transport Society (KRYAUPTS) | KRYAUPTS |  |  | I/O Point | I/O Point
Lauh Purush Sugar Plant, Pandariya(LSPSSKM) | LSPSSKM |  |  | INHALER | INH
Livestock Development Department(LDD) | LDD |  |  | Indian Rupees | INR
Maa danteshwari Maize processing and marketing cooperative society ltd. Kondagaon(MDMPMCSL) | MDMPMCSL |  |  | JAR | JAR
Maa Mahamaya Shahkari Shakkar Karkhana Maryadit Ambikapur(MMSSKM) | MMSSKM |  |  | Joule /kilogram | JKG
Mahasamund District Urban Public Service Society(MDUPSS) | MDUPSS |  |  | Joule /Mol | JMO
Mahatma Gandhi University of Horticulture and Forestry(MGUHF) | MGUHF |  |  | Job | Job
Mineral Resources Department -Mining (MRD) | MRD |  |  | joint | joint
Mungeli District Urban Public Service Society(MUDUPSS) | MUDUPSS |  |  | Kilogram act.ingrd | KAI
Narayanpur District Urban Public Service Society(NDUPSS) | NDUPSS |  |  | Kilogram /cubic decimeter | KD3
Nava Raipur Atal Nagar Smart City Corporation Limited(NRANSCCL) | NRANSCCL |  |  | kg | kg
Nava Raipur Atal Nagar Vikas Pradhikaran (NRANVP) | NRANVP |  |  | Kgs | Kg
OFFICE DISTRICT PROJECT LIVELIHOOD COLLEGE SOCIETY SUKMA DIST (C.G)(ODPLCSCD) | ODPLCSCD |  |  | Kilogram | KG
Office of Chief Electoral Officer, Chhattisgarh(OCEO) | OCEO |  |  | Kilogram/Mol | KGM
Office of collector Raigarh(OCR) | OCR |  |  | Kilogram /Second | KGS
Office of Commissioner Land Records Chhattisgarh(OCLR) | OCLR |  |  | Kilogram / cubic meter | KGV
Office of District Collector Tribal welfare Department Bijapur(ODCTWDB) | ODCTWDB |  |  | kg act.ingrd /kg | KIK
Office of District Collector, Sarangarh &ndash; Bilaigarh(ODCSB) | ODCSB |  |  | KILOWATT | KILOWATT
Office of Superintendent of Police, District- Mahasamund(OSPM) | OSPM |  |  | KIT | KIT
Office of Superintendent of Police, District-Balod(OSPDB) | OSPDB |  |  | Kilojoule/kilogram | KJK
Office of the Collector Sukma (C.G)(OOCS) | OOCS |  |  | Kilojoule/Mol | KJM
Office of the collector,Bastar (C.G)(OOTCB) | OOTCB |  |  | Kilo Litre | KL
office of the collectrorate Gariyaband(OCGBND) | OCGBND |  |  | Km | Km
Panchayat and Rural Development (PARD) | PARD |  |  | Kilometer | KM
Police Headquarter Chhattisgarh(PHQ) | PHQ |  |  | km. | km.
Public Health Engineering Department (PHED) | PHED |  |  | Square kilometer | KM2
Public Works Department (PWD) | PWD |  |  | Kilometer/hour | KMH
Raigarh District Urban Public Transport Society(RDUPTS) | RDUPTS |  |  | Kelvin/Minute | KMN
Raigarh Urban Public Service Society (RIGUPSS) | RIGUPSS |  |  | Kelvin /Second | KMS
Raipur Collectorate (RC) | RC |  |  | Kilonewton per square meter | KNM
Raipur Development Authority (RDA) | RDA |  |  | Kilopascal | KPA
Raipur District Urban Public Service Society(RAIPURDUPS) | RAIPURDUPS |  |  | Kilotonne | KT
Raipur Smart City Limited(RSCL) | RSCL |  |  | Kilovoltampere | KVA
Raipur Urban Public Transport Society (RUPTS) | RUPTS |  |  | KWH | KWH
Rajnandgaon District Urban Public Service Society(RDUPSS) | RDUPSS |  |  | KILOWATT POWER | KWP
Rajnandgaon Urban Public Service Society (RNDGUPSS) | RNDGUPSS |  |  | kwp-dc | kwp-dc
Rural Engineering Services (RES) | RES |  |  | US Pound | LB
Samagra Shiksha Chhattisgarh (SSC) | SSC |  |  | lemgth | lemgth
Sarguja District Urban Public Service Society(SRDGUPSS) | SRDGUPSS |  |  | length | length
Sarguja Urban Public Service Society (SUPSS) | SUPSS |  |  | Liter per 100 km | LHK
Sirpur Special Area Development Authority(SADA) | SADA |  |  | litre | litre
State Tax Chhattisgarh(STCG) | STCG |  |  | Liter /Minute | LMI
State Urban Development Agency (SUDA) | SUDA |  |  | Liter /Molsecond | LMS
Sukma District Urban Public Service Society(SUKDUPSS) | SUKDUPSS |  |  | LOT | LOT
Surajpur District Urban Public Service Society(SRJDUPSS) | SRJDUPSS |  |  | Liter Per hour | LPH
Swachh Bharat Mission (Gramin) Panchayat and Rural Development Department(SBMPARDD) | SBMPARDD |  |  | Lumpsum | LS
Tribal and Scheduled Caste Development Department(Mohla Manpur Ambagarh Chauki)(TASCDDMMAC) | TASCDDMMAC |  |  | LITRE | LT
Tribal Welfare Department, District Sukma(TWDDS) | TWDDS |  |  | lumpsump | lumpsump
Tribal Welfare Development Department ( Balrampur-Ramanujganj)(TWDDBR) | TWDDBR |  |  | Meter | M
Tribal Welfare Development Department (Balod- Collectorate)(TWDDBALOD) | TWDDBALOD |  |  | 1/square meter | M-2
Tribal Welfare Development Department (Bilaspur)(TWDDBILASP) | TWDDBILASP |  |  | Mol per cubic meter | M:M
Tribal Welfare Development Department (Dhamtari)(TWDDDT) | TWDDDT |  |  | Megawatt hours | M..
Tribal Welfare Development Department (Gariyaband)(TWDD) | TWDD |  |  | M.T. | M.T.
Tribal Welfare Development Department (Gaurella-Pendra-Marwahi-Collectorate)(TWDDGPM) | TWDDGPM |  |  | Meter /Hour | M/H
Tribal Welfare Development Department (Jagdalpur- Collectorate)(TWDDJDP) | TWDDJDP |  |  | Mol per liter | M/L
Tribal Welfare Development Department (Kabeerdham Collectorate)(TWDDKC) | TWDDKC |  |  | Meter /second | M/S
Tribal Welfare Development Department (Kanker)(TWDDKANKER) | TWDDKANKER |  |  | Square meter | M2
Tribal Welfare Development Department (Koriya)(TWDDKORIYA) | TWDDKORIYA |  |  | Square meter/Coat | M2C
Tribal welfare development Department (Mahasamund)(TWDDMSD) | TWDDMSD |  |  | Square meter/second | M2S
Tribal Welfare Development Department (Mungeli-Collectorate)(TWDDMC) | TWDDMC |  |  | Cubic meter | M3
Tribal Welfare Development Department (Rajnandgaon Collectorate)(TWDDRJN) | TWDDRJN |  |  | Cubic meter /Hour | M3H
Tribal Welfare Development Department (Surajpur Collectorate)(TWDDSC) | TWDDSC |  |  | Cubic meter/second | M3S
Tribal Welfare Development Department Balodabaza Bhatapara(TWDDBB) | TWDDBB |  |  | Man days | Man days
Tribal Welfare Development Department Durg(TWDDD) | TWDDD |  |  | Man-Month | Man-Month
Tribal Welfare Development Department Khairagarh -Chhuikhadan -Gandai (Collectorate)(TWDDKCG) | TWDDKCG |  |  | ManDay | ManDay
Tribal Welfare Development Department Kondagaon(TWDDK) | TWDDK |  |  | Manmonth | Manmonth
Tribal Welfare Development Department Raigarh(TWDDRG) | TWDDRG |  |  | Mbps | Mb
Tribal Welfare Development Department, Jashpur(TWDDJSP) | TWDDJSP |  |  | Megajoule | MEJ
Tribal Welfare Development Department(Ambikapur-Collectorate)(TWDDABK) | TWDDABK |  |  | meter | meter
Tribal Welfare Development Department(Bemetara Collectorate)(TWDDBC) | TWDDBC |  |  | metre | metre
Tribal Welfare Development Department(Korba-Collectorate)(TWDDKORBA) | TWDDKORBA |  |  | Milligram | MG
Tribal Welfare Development Department(Raipur-Collectorate)(TWDDRC) | TWDDRC |  |  | Milligram/liter | MGL
Tribal Welfare DevelopmentDepartment(Janjgir-Champa-Collectorate)(TWDDJCC) | TWDDJCC |  |  | Megohm | MGO
Urban Administration and Development Department (UADD) | UADD |  |  | Milligram /cubic meter | MGQ
Water Resources Department (WRD) | WRD |  |  | Megavolt | MHV
Zila Nirman Samiti Bijapur(ZNSB) | ZNSB |  |  | Mile | MI
Zila Panchayat Dhamtari(ZPD) | ZPD |  |  | Square mile | MI2
Zila Panchayat Raipur(ZPR) | ZPR |  |  | Minute | MIN
|  |  |  | Microsecond | MIS
|  |  |  | Milliliter | ML
|  |  |  | ML/GM/KG | ML/GM/KG
|  |  |  | Milliliter/ Liter | ml/l
|  |  |  | Milliliter act.ingr. | MLI
|  |  |  | Millimeter | MM
|  |  |  | Square millimeter | MM2
|  |  |  | Cubic millimeter | MM3
|  |  |  | Meganewton | MN
|  |  |  | Millinewton/meter | MNM
|  |  |  | Months | MON
|  |  |  | Miles per gallon (UG) | MPG
|  |  |  | Millimol per liter | MPL
|  |  |  | Millipascal seconds | MPS
|  |  |  | Millisecond | MS
|  |  |  | Meter/second squared | MS2
|  |  |  | Microsiemens per centimeter | MSC
|  |  |  | METRIC TON | MT
|  |  |  | MTR | MTR
|  |  |  | Nanoampere | NA
|  |  |  | Nanometer | NAM
|  |  |  | Number Days | ND
|  |  |  | Kilonewton | NI
|  |  |  | Newton/meter | NM
|  |  |  | Newton/Square millimeter | NMM
|  |  |  | Number | NO
|  |  |  | Nanosecond | NS
|  |  |  | one RCC jaali tree guard | one RCC jaali tree guard
|  |  |  | one RCC jaali tree guard | one RCC jaali tree guard
|  |  |  | Ounce | OZ
|  |  |  | Points | P
|  |  |  | P.cmt | P.cmt
|  |  |  | P.cumt. | P.cumt.
|  |  |  | P.KG / P.LTR | P.KG / P.LTR
|  |  |  | PER KG | P.KG.
|  |  |  | P.Kit | P.Kit
|  |  |  | P.Km. | P.Km.
|  |  |  | P.mtr | P.mtr
|  |  |  | P.Pair | P.Pair
|  |  |  | P.Point | P.Point
|  |  |  | Per Running Meter Per Box | P.R.M.P.BOX
|  |  |  | p.sq.mtr | p.sq.mtr
|  |  |  | P/sq.Mt. | P/sq.Mt.
|  |  |  | Per 100 kw per set | P100KW
|  |  |  | Pair | PAA
|  |  |  | Pack | PAC
|  |  |  | pack | pack
|  |  |  | Package | Package
|  |  |  | Pad | PAD
|  |  |  | page | page
|  |  |  | Pair | Pair
|  |  |  | Pallet | PAL
|  |  |  | part | part
|  |  |  | Pascal second | PAS
|  |  |  | Per Patient | Patient
|  |  |  | PER BRIDGE | PB
|  |  |  | Per Bed | PB1
|  |  |  | Per Bale Per KM | PBPK
|  |  |  | Piece | PC
|  |  |  | Megavoltampere | PCT
|  |  |  | per cm height per letter | per cm height per letter
|  |  |  | per cm height per letter | per cm height per letter
|  |  |  | per day | per day
|  |  |  | PER BAG | PER BAG
|  |  |  | Per bale | Per bale
|  |  |  | per bar | per bar
|  |  |  | PER CANDIDATE | PER CANDIDATE
|  |  |  | Per Candidate Per Exam | Per Candidate Per Exam
|  |  |  | per conversation | per conversation
|  |  |  | per cubic centimeter | per cubic centimeter
|  |  |  | per day | per day
|  |  |  | Per Diem Rate | Per Diem Rate
|  |  |  | Per Doz | Per Doz
|  |  |  | Per Hour | Per Hour
|  |  |  | per HP | per HP
|  |  |  | PER HUNDRED PIECES | PER HUNDRED PIECES
|  |  |  | Per inch | Per inch
|  |  |  | PER ITEM | PER ITEM
|  |  |  | Per Kg | Per Kg
|  |  |  | PER KL | PER KL
|  |  |  | Per Km. | Per Km.
|  |  |  | PER KILOWATT | PER KW
|  |  |  | per letter | per letter
|  |  |  | Per Ltr | Per Ltr
|  |  |  | per month | per month
|  |  |  | Per MT | Per MT
|  |  |  | Per mtr | Per mtr
|  |  |  | Per Night | Per Night
|  |  |  | per nos | per nos
|  |  |  | Per packet | PER PACKET
|  |  |  | per page | per page
|  |  |  | PER PAGE | PER PAGE
|  |  |  | Per person | PER PERSON
|  |  |  | Per person per day | Per person per day
|  |  |  | PER PERSON PER DAY | PER PERSON PER DAY
|  |  |  | Per piece | PER PIECE
|  |  |  | Per Plants | Per Plants
|  |  |  | PER POLE | PER POLE
|  |  |  | PER POLICY | PER POLICY
|  |  |  | per pouch | per pouch
|  |  |  | per quintal | per quintal
|  |  |  | Per running feet | PER RUNNING FEET
|  |  |  | Per Set | Per Set
|  |  |  | PER SHEET | PER SHEET
|  |  |  | Per Sqr Km | Per Sqr Km
|  |  |  | Per square km | Per square km
|  |  |  | PER STICKER | PER STICKER
|  |  |  | Per Tanker | Per Tanker
|  |  |  | per test | per test
|  |  |  | Per thousand | PER THOUSAND
|  |  |  | per tonne | per tonne
|  |  |  | per tonne capacity | per tonne capacity
|  |  |  | per trip | per trip
|  |  |  | Per unit | PER UNIT
|  |  |  | per.mtr | per.mtr
|  |  |  | Per Advisory | PERADV
|  |  |  | percentage of DPR cost | percentage of DPR cost
|  |  |  | UNP1 | Percentage of Project Cost
|  |  |  | PER SQUARE FEET | PERSQF
|  |  |  | PER BOREHOLE | PH
|  |  |  | Per HP Per Set | PHPPS
|  |  |  | per Hactare - per year | PHPY
|  |  |  | 1/minute | PMI
|  |  |  | Per Machine Per Session | PMPS
|  |  |  | Pikofarad | PO
|  |  |  | percentage of DPR cost | PODPRC
|  |  |  | Point | Point
|  |  |  | Per Piece 500 ml bottle | PP500ML
|  |  |  | Parts per billion | PPB
|  |  |  | Per Page Cost | PPC
|  |  |  | Parts per million | PPM
|  |  |  | PER POINT | PPNT
|  |  |  | Per Pack Price | PPP
|  |  |  | Per Person Per Month | PPPM
|  |  |  | Per Person Per Month Per Shift | PPPMPS
|  |  |  | Per Patient | PPT
|  |  |  | Per Roll | PR
|  |  |  | Per Rig | PRG
|  |  |  | Print | Print
|  |  |  | PER UNIT PER MONTH | PRPM
|  |  |  | Number of persons | PRS
|  |  |  | Picosecond | PS
|  |  |  | Pound Per Sq inch | PSI
|  |  |  | COST PER SITE LOCATION/ PER DIGITAL MAP | PSLPDM
|  |  |  | Per Square Feet Per Month | PSQPM
|  |  |  | Pint, US liquid | PT
|  |  |  | Per Ton Per KM | PTPK
|  |  |  | Per Unit Per Month | PUPM
|  |  |  | PER UNIT PER YEAR | PUPYR
|  |  |  | Kilomol | QML
|  |  |  | QUINTAL | QNTL
|  |  |  | Quart, US liquid | QT
|  |  |  | QUARTER | qtr
|  |  |  | quintal | quintal
|  |  |  | Nanofarad | R-U
|  |  |  | R.M. | R.M.
|  |  |  | Millifarad | RF
|  |  |  | Gramm/cubic centimeter | RHO
|  |  |  | Rim | RIM
|  |  |  | Ream | RM
|  |  |  | Running Meter | Rmt
|  |  |  | RUNNING METRE | RMT
|  |  |  | Role | ROL
|  |  |  | Roll | Roll
|  |  |  | Roll | Roll_UD
|  |  |  | Rate Per Bale | RPB
|  |  |  | Set | Set
|  |  |  | SET | SET
|  |  |  | SHEET | SHEET
|  |  |  | SHQ | SHQ
|  |  |  | Span | Span
|  |  |  | Square feet | Sq.Ft
|  |  |  | Sq.mtr | Sq.mtr
|  |  |  | Square Meter | sqm
|  |  |  | SEAT | ST
|  |  |  | SYRUP | SYP
|  |  |  | TCS | TCS
|  |  |  | Thousand Hours | THR
|  |  |  | Tin | Tin
|  |  |  | Tonnes | TO
|  |  |  | Ton/Cubic meter | TOM
|  |  |  | US Ton | TON
|  |  |  | Tone | Tone
|  |  |  | Tonne | Tonne
|  |  |  | Thousand | TS
|  |  |  | TUBE | TUB
|  |  |  | Tube | Tube
|  |  |  | For each Test KIT | UN1
|  |  |  | Rate Per 1000 Pcs | UN1000
|  |  |  | For each PPE KIT | UN2
|  |  |  | For each (Unit) Quantity | UN3
|  |  |  | For each VTM Kit | UN4
|  |  |  | FOR EACH TEST | UN5
|  |  |  | For Each Kit | UN8
|  |  |  | UNIT | UNIT
|  |  |  | UNIT | UNIT1
|  |  |  | Percentage of Project Cost | UNP
|  |  |  | for each Vehicle | UNV
|  |  |  | USERS | USERS
|  |  |  | Voltampere | VA
|  |  |  | Vo mat. | VAL
|  |  |  | VIAL | VIA
|  |  |  | weeks | WK
|  |  |  | DEFAULT UNIT DESCRIPTION | XXX
|  |  |  | Yard | YD
|  |  |  | Square Yard | YD2
|  |  |  | Cubic yard | YD3
|  |  |  | Year | Year
|  |  |  | Years | YR
|  |  |  | Microampere | µA
|  |  |  | Microfarad | µF
|  |  |  | Microgram /liter | µGL
|  |  |  | Microgram /cubic meter | µGQ
|  |  |  | Microliter | µL
|  |  |  | Micrometer | µM